## Sheet1
Collection | Form | Section | Q# | Correct Q text (in XML) | Truncated Q text(in Form)
PX_28e_new.xml | PhenX PX150302 - Muscle Strength | Room Setup Procedures | 0 |  | At the beginning of the stand, these procedures are followed to prepare the equipment for use. The other technician will connect the
|  | Dynamometer Calibration Procedures | 6 | Figure 7. Weights hanging from the dynamometer handle 13. The reading must fall between 9-13 kg. This is ± 2 kg of the slotted weight (10 kg) plus the weight of the base (1 kg). If the reading falls within the range, record it. If the reading does not fall within the range, follow the troubleshooting tips. 14. After recording the reading, add another 10 kg slotted weight to the stem by following the procedures in steps 10 and 11. There will be a total of 2 1 kg weights hanging from the dynamometer. The second reading should fall within the range of 19-23 kg If the measurement falls within the range, record the reading. If the reading does not fall within the range, follow the troubleshooting tips. 15. After recording the second reading, add two more 10 kg weights to the base in the same manner indicated in steps 10 and 11. There will now be a total of 41 kgs of weight hanging from the dynamometer. The third reading should fall within the range of 39-43 kg. If the measurement falls within the range, record the reading. If the reading does not fall within the range, follow the troubleshooting tips. 16. After recording the final reading, carefully remove the slotted weights and the base from the handle and turn the dynamometer off. Do not leave the weights hanging from the handle any longer than absolutely necessary. 17. Calibrate the back-up dynamometer in the same manner (steps 4-16). When recording the readings for the back-up dynamometer, write the date of calibration and the serial number of the dynamometer somewhere on the paper. 18. Store all calibration items. (Put the calibration weights back in the cardboard boxes before storing them.) 19. Turn the sitting box over and return it to its proper place. 20. Enter the calibration readings for the dynamometer that will be used during the stand into ISIS. 21. Put the calibration readings for the back-up dynamometer in the carrying case with the back-up dynamometer and store it in the cabi..TRUNCATED(desc5) | Figure 7. Weights hanging from the dynamometer handle 13. The reading must fall between 9-13 kg. This is ± 2 kg of the slotted weight (10 kg) plus the weight of the base (1 kg). If the reading falls within the range, record it. If the reading does not fall within the range, follow the troubleshooting tips. 14. After recording the reading, add another 10 kg slotted weight to the stem by following the procedures in steps 10 and 11. There will be a total of 2 1 kg weights hanging from the dynamometer. The second reading should fall within the range of 19-23 kg If the measurement falls within the range, record the reading. If the reading does not fall within the range, follow the troubleshooting tips. 15. After recording the second reading, add two more 10 kg weights to the base in the same manner indicated in steps 10 and 11. There will now be a total of 41 kgs of weight hanging from the dynamometer. The third reading should fall within the range of 39-43 kg. If the measurement falls within the range, record the reading. If the reading does not fall within the range, follow the troubleshooting tips. 16. After recording the final reading, carefully remove the slotted weights and the base
|  | Pretest Questionnaire | 0 | Before beginning the grip strength testing procedures, the study participant is asked a series of questions to determine if he or she should be excluded from parts of the exam and to collect information on items that may influence the results. The pretest questions for SPs under the age of 12 are completed with the parent/guardian. (desc7_150302) | Before beginning the grip strength testing procedures, the study participant is asked a series of questions to determine if he or she should be excluded from parts of the exam and to collect information on items that may influence the results. The
|  | Adjusting the Dynamometer Grip Size | 5 | Figure 13. Proper marking of the handle placement The SP will only perform the exam in the seated position if he or she cannot stand unassisted (see section for individuals who cannot stand unassisted). Record if the SP will stand or sit for the exam on the pretest screen. If the exam will be completed in a sitting position, the system will prompt you to indicate whether either of the SP's feet can apply force to the ground. If it is not obvious, check the SP's leg function by placing your hand under the SP's foot/feet and ask the SP to apply force to your hand. The test will still continue regardless of the SP's leg function; however, this information is important for data analysis. Tech Demonstration of Exam After the grip size is adjusted, take the dynamometer from the SP and explain the exam to the SP using the suggested scripts below. During the demonstration, the SP can remain sitting while you stand to demonstrate. SUGGESTED SCRIPT: For the test, I will ask you to squeeze this hand grip as hard as you can. You will stand with your feet hip width apart and your toes pointing forward like this. You will hold your hand so that it's not touching your body and squeeze the handle. I want you to stand tall and try not to lean when you squeeze. You will take a breath in, then blow out while you squeeze. You will squeeze as hard as you can until you can't squeeze any harder. Like this. (Do the squeeze demo now.) We will test each hand 3 times. While explaining the test to the SP, demonstrate the test as indicated below. - Grasp the dynamometer between the fingers and the palm at the base of the thumb. - Hold the dynamometer in line with the forearm at the thigh level so that it's not touching the body. - Emphasize that the SP should stand with the feet hip width apart with toes pointing forward. - Instruct the SP that neither the hand nor dynamometer should touch the body or any other object during the test. - Instruct the SP not..TRUNCATED(img_muscle_strength_17) | Figure 13. Proper marking of the handle placement The SP will only perform the exam in the seated position if he or she cannot stand unassisted (see section for individuals who cannot stand unassisted). Record if the SP will stand or sit for the exam on the pretest screen. If the exam will be completed in a sitting position, the system will prompt you to indicate whether either of the SP's feet can apply force to the ground. If it is not obvious, check the SP's leg function by placing your hand under the SP's foot/feet and ask the SP to apply force to your hand. The test will still continue regardless of the SP's leg function; however, this information is important for data analysis. Tech Demonstration of Exam After the grip size is adjusted, take the